## Device Define File Wizard
iDAQAnyWhere for MODBUS Device Define File Wizard
Step1: | Input device name and manufacturer.
| Device Name | TemplateDevice |  | Comment: device name must be 1-16 ASCII string, and the file name exported or saved must be same with device name.
| manufacturer | PromiseTech |  | Comment: blank is ok.
Step2: | Set modbus registers which will be assigned to channel. Feel free to insert or delete lines in table. Address range is from 1 to 65535.
| Register Name | Function Code | Address | Data Type
| PV | 3 | 40001 | INT16
| ALM | 3 | 40011 | INT16
Step3: | Set collecting channel list. Free free to insert or delete lines in table.
If alarm information does not exist, keep alarm type is blank or "OFF".
[7 empty] | Alarm Level 1 |  |  | Alarm Level 2 |  |  | Alarm Level 3 |  |  | Alarm Level 4
| Channel Name | Decimal Position | Min | Max | Unit | Register Name | Type1 | Register1 | Mask1 | Type2 | Register2 | Mask2 | Type3 | Register3 | Mask3 | Type4 | Register4 | Mask4
| CH001 | 1 | 0 | 100 | V | PV | H | ALM | 0x0001 | L | ALM | 0x0002 | L | ALM | 0x0004 | L | ALM | 0x0008
| CH002 | 1 | 0 | 100 | V | PV | H | ALM | 0x0001 | L | ALM | 0x0002 | L | ALM | 0x0004 | L | ALM | 0x0008
Step4: | Save as xml file. File name must be same as device name above.
Or use menu: Develop tool -> Export to export xml file. Exported file name must be same as device name above.
Save this EXCEL file if you want to modify it.
Step5: | Use follow ways to import xml file into iPhone or iPAD.
1、Use tools（iTunes, iFunBox, etc）, copy device define xml file to iDAQMOD software's xml path.
2、Send device define xml file as mail attachment. And open it with iDAQMOD in iPhone or iPAD.
3、Send device define xml file to us（support@promise-auto.com）. We will check it and put it on our website.
You can refresh to download it in iDAQMOD software's device list page.